{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["2022年麻醉耗材招标清单"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"2022年麻醉耗材招标清单","index":0,"n_rows":19,"n_cols":11,"rows_kept":19,"merged":[[0,0,0,10]],"flags":["formulas_cached_only"]}
["2022年麻醉耗材招标清单"]
["行号","产品通用名称","基本单位","规格","型号","报价","生产厂商","产品注册名称","产品注册证号","省采集平台价格","安徽省医保医用耗材编码"]
[1,"动静脉留置针","支","50支/盒 20G","20G/22G"]
[2,"一次性使用麻醉呼吸管路组件","支","可伸缩 2米"]
[3,"一次性使用腰硬联合麻醉穿刺套件","包","II型 AS-E/S"]
[4,"微量泵延长管","套","480套/件","细导管1.5mYV-I"]
[5,"呼吸道用吸引导管","支","Fr12"]
[6,"呼吸道用吸引导管","支","Fr8"]
[7,"一次性使用血液回收耗材（分离杯组件）","个","225ml"]
[8,"一次性使用贮血滤血器","个","FCR-3000F型"]
[9,"加强型气管插管","支","各型号","10支/盒"]
[10,"一次性无创脑电传感器","片","TD-2102","10片/盒"]
[11,"喉罩气道导管","支","1.5-4.0号 1只/盒","HZB21"]
[12,"管道护理标签","卷","1卷/盒"]
[13,"麻醉面罩","支","1#-4#"]
[14,"一次性使用有创压力传感器","包","雅培型"]
[15,"电子输注泵","台","200ml"]
[16,"钙石灰","桶","4.5KG/桶"]
[17,"一次性使用喉镜片","片","50片/箱","TDC-3"]